## Raw_Data_Dot1
Sample_ID | Location | Date | Time (GMT +7) | Round | Parameter | Value | Unit | Note
HCMUS-FishPond-01 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:10 | 1 | pH | 8.5 | pH | Initial measurement after sample collection.
HCMUS-FishPond-01 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:11 | 1 | EC | 140 | µS/cm | Measured in TDS mode (ppm); equivalent EC ≈ 2 × TDS (conversion factor 0.5).
HCMUS-FishPond-01 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:11 | 1 | Temperature | 33.2 | °C
HCMUS-FishPond-01 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:40 | 2 | pH | 8.42 | pH | Measured after 30-minute standing at room temperature.
HCMUS-FishPond-01 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:41 | 2 | EC | 77 | ppm
HCMUS-FishPond-01 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:41 | 2 | Temperature | 32.5 | °C
HCMUS-FishPond-01 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 18:11 | 3 | pH | 8.34 | pH | Measured after 60-minute standing at room temperature.
HCMUS-FishPond-01 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 18:13 | 3 | EC | 76 | ppm
HCMUS-FishPond-01 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 18:13 | 3 | Temperature | 31 | °C
HCMUS-FishPond-02 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:13 | 1 | pH | 8.56 | pH | Initial measurement after sample collection.
HCMUS-FishPond-02 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:14 | 1 | EC | 128 | µS/cm | Measured in TDS mode (ppm); equivalent EC ≈ 2 × TDS (conversion factor 0.5).
HCMUS-FishPond-02 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:14 | 1 | Temperature | 31 | °C
HCMUS-FishPond-02 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:44 | 2 | pH | 8.46 | pH | Measured after 30-minute standing at room temperature.
HCMUS-FishPond-02 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:46 | 2 | EC | 66 | ppm
HCMUS-FishPond-02 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:46 | 2 | Temperature | 31 | °C
HCMUS-FishPond-02 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 18:17 | 3 | pH | 8.37 | pH | Measured after 60-minute standing at room temperature.
HCMUS-FishPond-02 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 18:18 | 3 | EC | 76 | ppm
HCMUS-FishPond-02 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 18:18 | 3 | Temperature | 31.5 | °C
HCMUS-FishPond-03 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:17 | 1 | pH | 8.61 | pH | Initial measurement after sample collection.
HCMUS-FishPond-03 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:19 | 1 | EC | 124 | µS/cm | Measured in TDS mode (ppm); equivalent EC ≈ 2 × TDS (conversion factor 0.5).
HCMUS-FishPond-03 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:19 | 1 | Temperature | 31 | °C
HCMUS-FishPond-03 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:48 | 2 | pH | 8.48 | pH | Measured after 30-minute standing at room temperature.
HCMUS-FishPond-03 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:49 | 2 | EC | 64 | ppm
HCMUS-FishPond-03 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 17:49 | 2 | Temperature | 31 | °C
HCMUS-FishPond-03 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 18:19 | 3 | pH | 8.38 | pH | Measured after 60-minute standing at room temperature.
HCMUS-FishPond-03 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 18:21 | 3 | EC | 64 | ppm
HCMUS-FishPond-03 | Fishpond near Faculty area-HCMUS Campus 2 | 2025-12-14 | 18:21 | 3 | Temperature | 31.5 | °C
During field measurements, the TDS/EC meter was occasionally switched between EC and TDS modes. All values were recorded with explicit units and conversion notes to ensure data consistency.